## Slide 1: Fundamentals of AC Circuits
Module 2: Fundamentals of AC Circuits

## Slide 2: DA 1
Upload the Answer Script by
31-08-2020

## Slide 3: example 1
Find Mesh Currents I1 and I2

## Slide 4: example 2
Compute the complex impedance of the network shown in Figure for ω = 500. Repeat for ω = 1000 and ω = 2000. Give the answers in both polar and rectangular forms

## Slide 5: Ac POWER calculations

## Slide 6: Current, Voltage, and Power for a Resistive Load
Current, Voltage, and Power for a Inductive Load
Using trigonometric identity cos(x) sin(x) = (1/2) sin(2x)

## Slide 7: Current, Voltage, and Power for a Capacitive Load
Using trigonometric identity cos(x) sin(x) = (1/2) sin(2x)

## Slide 8: Power Calculations for a General Load
Now, let us consider the voltage, current, and power for a general RLC load for which the phase θ can be any value from −90◦ to +90◦. We have
Using and
Active Power & Units (W)

## Slide 9: Power Factor & reactive power
Power Factor (PF) = cos()
In general, the phase of the voltage may have a value other than zero. Then, θ should be taken as the phase of the voltage θv minus the phase of the current θi, or
θ = θv − θi
Reactive Power
Apparent Power = =

## Slide 10: Ac power calculations
Compute the power, reactive power and apparent power taken from the source for the circuit

## Slide 11: Contents
Sinusoidal Voltage
Vm
w, f and T
RMS Values
Vrms, Irms
Pavg
Phasor Definition
Complex Impedances
Steady-state Analysis
Kirchhoff's Laws
Node Voltage Analysis
Mesh Current Analysis
AC Power Calculations
Active Power
Reactive Power
Power Factor
Apparent Power