## Slide 1: Fundamentals of AC Circuits
Module 2: Fundamentals of AC Circuits

## Slide 2: overview

## Slide 3: overview
 V=v(cos()+j sin())
v = a + jb 

## Slide 4: Overview
Inductance
Current lags voltage by 90° in a pure inductance.
Capacitance
Current leads voltage by 90° in a pure capacitance
Resistance
For a pure resistance, current and voltage are in phase

## Slide 5: Circuit Analysis with Phasors And Complex impedances
Kirchhoff’s Laws
Node-Voltage Analysis
Mesh-Current Analysis

## Slide 6: Kirchhoff’s Laws
Steady-State AC Analysis of a Series Circuit
Find the steady-state current for the circuit shown in Figure. Also, find the phasor voltage across each element

## Slide 7: Node-voltage analysis
Use the node-voltage technique to find v1(t) and v2(t) in steady state for the circuit shown in Figure

## Slide 8: Mesh-current analysis
Solve for the mesh currents I1 and I2

## Slide 9: Assignment 1
Find Mesh Currents I1 and I2

## Slide 10: Assignment 2
Compute the complex impedance of the network shown in Figure for ω = 500. Repeat for ω = 1000 and ω = 2000. Give the answers in both polar and rectangular forms

## Slide 11: Ac POWER calculations

## Slide 12: Current, Voltage, and Power for a Resistive Load
Current, Voltage, and Power for a Inductive Load
Using trigonometric identity cos(x) sin(x) = (1/2) sin(2x)

## Slide 13: Current, Voltage, and Power for a Capacitive Load
Using trigonometric identity cos(x) sin(x) = (1/2) sin(2x)

## Slide 14: Power Calculations for a General Load
Now, let us consider the voltage, current, and power for a general RLC load for which the phase θ can be any value from −90◦ to +90◦. We have
Using and
Active Power & Units (W)

## Slide 15: Power Factor & reactive power
Power Factor (PF) = cos()
In general, the phase of the voltage may have a value other than zero. Then, θ should be taken as the phase of the voltage θv minus the phase of the current θi, or
θ = θv − θi
Reactive Power
Apparent Power = =

## Slide 16: Ac power calculations
Compute the power, reactive power and apparent power taken from the source for the circuit